Fire System Test Procedure

Introduction

Sheerwater Health Centre has a fire alarm system installed and maintained by Chubb Fire. The system covers the entire building including the area previously occupied by a dental surgery.

How to check that the fire system is functioning correctly

Before a test is carried out, the following must be done:

- Inform the Chubb monitoring station that a fire test is about to take place. The telephone number for this is 0844 879 1711. You will need the user number and password

- User Number:  DC 048577 User number to dial *31*23048577  User ID & Password 8577

- The alarm is reset after an hour

- Advise staff in Parkside that a test is to commence soon

- Advise staff (and patients, if any on premises) that a test is about to commence

- For test purposes a plastic fob is used to insert at the bottom of glass-covered fire unit (marked “Break Glass”). This act is equivalent to breaking the glass

- This activates the alarm

- On the fire panel in the front, enter code 22222 to gain access to options on the fire panel

- Press the “Silence” button the panel

- Press “Reset” the fire alarm system

- Note

Zone 1 is the Health Centre ground floor

Zone 2 is the Health Centre roof space

Useful telephone numbers

| Engineer or to arrange maintenance | 0844 879 1666 |
| --- | --- |
| To inform Chubb that a test is about to be carried out | 0844 879 1711 |
| To arrange a Fire Alarm test manually or any other issues | 0344 879 1703 |